RESIDENTIAL COMPLETION CHECKLIST

- Windows

  - Schedule install of screens, cranks, hardware

- Cleaning

  - Window cleaning – interior and exterior

  - Schedule total house cleaning

  - Final wood floor polish

  - Schedule duct cleaning

  - Remove all excess materials from site

  - Organize leftover materials in mechanical/storage area

- Mechanical/Electrical

  - Electrical finish – confirm device color selections

  - Sound system finish

  - Security/Surveillance finish

  - HVAC finish

  - Plumbing finish

  - Water treatment finish

  - Make gas tags

  - Request client to setup account with internet service provider of their choice for completion of system setups

- Inspections

  - Electrical

  - HVAC

  - Plumbing

  - Elevator

  - Pool

  - Final

- Railings/Fences

- Appliances

  - Schedule delivery and install

  - Test all appliances

  - Empty first few batches of ice from any ice makers

  - Confirm hood works

- Garage Doors, Openers, & Keypads

- Closets

- Carpet

  - Schedule install

  - Vacuum and mop floors before carpet installs

- Cabinets

  - Adjust doors and install special accessories

- Hardware

  - Install all door hardware – check locking on all doors

    - Verify doors to be keyed alike

  - Install bath accessories/cabinet hardware

- Sump Pump System

- Mirrors/Glass/Shower Doors

- Fireplaces

  - Schedule final install and setup

- Elevator

  - Confirm with client whether they prefer wifi or landline connection – schedule install

- Sitework

  - Sod

  - Sprinklers

  - Site lighting

- Warranty Box

- Owner to transfer utilities into their name

- Reach out to subcontractors to assist in setting up subscription services

  - HVAC

  - Water treatment

  - Landscaping

  - Pool

- Order set of trash and recycle cans to the house