Electrical Quote Summary – Custom Electric

Wood Residence

2/1/2026

- Kitchen Wing, per quote = $17,880

- Primary Suite / Den, per quote = $18,015

- Bath 2 / Dressing 2 = $360

  - Replace (4) switches, replace (1) outlet, replace (1) motion, keep existing fan, keep existing can lights, wire/install a lit mirror in lieu of lights in soffit (supplied by McNeil)

- Bath 3 = $340

  - Replace (3) switches, replace (1) outlet, keep existing can lights, keep existing fan, wire/install a lit mirror in lieu of vanity light (supplied by McNeil)

- Bath 4 = $540

  - Replace (3) switches, replace (1) outlet, keep existing can lights, new fan, (2) new sconces in lieu of single vanity light (supplied by McNeil)

- LL Powder Bath = $340

  - Replace (2) switches, replace (1) outlet, keep existing cans, new fan, new vanity fixture ceiling mount (supplied by McNeil)

- Sauna = $605

  - Includes supply/wire (2) can lights, supply/wire (2) switches, supply/wire bath fan without light (this could be something optional and can discuss during walk thru but I budgeted for one), supply/wire (1) 240v/15amp outlet for Sauna

- Foyer Light Fixture = $420

  - Install new fixture (already taken down)

- In Floor Heat in Primary Bath = $350

  - Add circuit and install thermostat

- Replacement of outlets and switches at areas not noted above – will be discussed and counted at time of electrical walk thru with rates per the sheet received from Jeremy (change order)

- Demo – to be billed at $140/hour for labor with (1) journeyman and (1) apprentice, time & material

- Smoke Detectors – included in bid for what is shown on the plan – should whole house need to be brough to code it will be $150/each (change order)

- LED Inserts – replacement of any can trims at areas not noted above – will be discussed and counted at time of electrical walk thru with rates per the sheet received from Jeremy @ $25/each (change order)

TOTAL SUBCONTRACT = $38,850