Proposal






  CUSTOM ELECTRIC, INC.









       P.O. Box 813









 
      Elkhorn, NE  68022










      402-289-2561

RESIDENTIAL-COMMERCIAL

	PROPOSAL SUBMITTED TO:
	PHONE: 402-333-1462                DATE: 7/2/2026

	NAME: McNeil Company
	JOB NAME: Hogan Residence

	STREET: 4666 S. 132nd St. 
	STREET: 811 N. 143rd Plaza

	CITY: Omaha
	CITY: Omaha                              STATE: NE

	STATE: NE                               ZIP: 68137 
	    


We hereby submit specifications and estimates for:



	PERMIT
	YES
	
	110V POWER – GAS HEATER
	1
	

	TEMP POLE 
	YES
	
	RADON OUTLET
	1
	

	PRECONNECT  
	YES
	
	FURNACE TEMPORARY
	2
	

	AMP SERVICE
	400 Amp
	
	A/C
	2
	

	SUB PANEL
	 
	
	GAS FURNACE
	2
	

	OPPD DUCT
	YES
	
	GEOTHERMAL 
	
	

	OVEN
	1
	
	WATER HEATER – POWER VENT
	2
	

	GAS RANGE
	1
	
	WATER SOFTENER
	1
	

	DISHWASHER
	2
	
	110V OUTLETS
	63
	

	HOOD
	1
	
	GFI OUTLETS/ GFI PROTECTED OUTLETS
	6 / 38
	

	REFRIGERATOR / UC REFRIGERATOR
	1 / 4 
	
	W.P. GFI OUTLETS
	7
	

	MICROWAVE
	2
	
	ARC FAULT CIRCUITS
	42
	

	DISPOSAL
	1
	
	STEP LIGHTS  
	6
	

	FREEZER / SUB ZERO
	3 / 1
	
	CAR CHARGER / SLEEVE ONLY
	1
	

	WARMING DRAWER 
	1
	
	FLOOD LIGHT OPENINGS / FIXTURES
	3
	

	ICE MAKER
	1
	
	HONEYWELL TIMERS
	2
	

	POP-UP OUTLETS – POINT POD CONNECT 
	3
	
	X-MAS LIGHT CIRCUITS / OUTLETS
	1 / 4
	

	LED STUBS / LED
	43 w/ 272’
	
	SHOWER STEAMER – WIRING & POWER
	1
	

	PLUG MOLD STUBS / PLUG MOLD
	6 w/ 13’
	
	SUMP PUMP 
	2
	

	BATH FANS
	5
	
	FIREPLACE / ELECTRIC FIREPLACE
	3 / 0
	

	FLOOR HEAT CIRCUIT ONLY
	1
	
	DOCKING DRAWER POWER
	3
	

	CHIMES
	1
	
	STEALTH LOCK POWER
	1
	

	4” ELCO ADJUSTABLE CANS
	14
	
	SECURITY / AV
	1
	

	5” CAN W/STD TRIMS & LED BULBS
	102
	
	CEILING FANS
	3
	

	WAFERS
	12
	
	FLOOR OUTLETS / PVC
	4 / 2
	

	6” SLOPE CAN W/STD TRIMS & LED BULBS
	4
	
	SAUNA 
	
	

	4’ / 2’ LED STRIP LIGHTS
	12 / 1
	
	HOT TUB
	
	

	PUCK LIGHTS - LED
	18
	
	SMOKE DETECTORS / CO COMBOS
	4 / 4
	

	5” EVE CAN W/ STD TRIMS & LED BULBS
	3
	
	POOL
	
	

	HANG FIXTURES
	36
	
	DOOR SWITCHES / MOTION SWITCHES
	0 / 5
	

	GARAGE DOOR OPENERS
	1
	
	SWITCHES - SINGLE
	47
	

	EXT. PILLAR / BALLARD FIXTURES
	3
	
	SWITCHES – THREE  WAY
	58
	

	BIDET CIRCUIT / OUTLET
	1
	
	SWITCHES – FOUR WAY
	4
	

	IRON AWAY CIRCUIT
	
	
	LUTRON PACKAGE
	OPTION
	

	DRYER
	1
	
	USB OUTLETS
	
	

	WASHER RECEPTACLE
	1
	
	DIMMERS – SINGLE/THREE-WAY
	37
	

	HUMIDIFIER
	
	
	
	DEVICES:    OUTLETS     x Standard         Decora

	ERV 
	1
	
	
	       SWITCHES     Standard       x  Decora


We hereby propose to furnish labor and materials – complete in accordance with the above specifications, for the sum of:      EIGHTY-SEVEN THOUSAND FOUR HUNDRED AND 00/100 DOLLARS ($87,400.00) (60% due within 30 days of completion of rough-in) and the remaining balance due within 30 days after final inspection.  THIS PROPOSAL DOES NOT INCLUDE ANY TARIFF RELATED CHARGES THAT COULD ARISE.  ANY PRICE CHANGES OR FEES BILLED TO CUSTOM ELECTRIC DUE TO TARIFFS WILL BE PASSED ON TO YOU.
Acceptance of Proposal
The above prices, specifications and conditions are satisfactory and are hereby accepted.  You are authorized to do the work as specified.  Payment will be made as outlined above.







Signature   ______________________________________
Date   _________________________

Signature   ______________________________________
ALTERNATE
Lighting control package

(2) Lighting panels – mounting of panels, installation and wiring of loads and modules

(32) switch legs – exterior, foyer, office, gathering room, kitchen, dining room, lounge, back hall, service entry and stairs

Original switches and dimmers in these areas have been removed and credited. Will have keypads in areas specified in lighting plans (by others). (19) Dimmers, (18) single pole switches, (30) three-way switches, (3) four-way switches. 

Total Cost 








                         $7,500.00








         

