PK Crockett Residence
Notes & Value Engineering opportunities
8/26/26

PLAN NOTES – QUESTIONS THAT NEED CONSIDERATION
1. AC linesets – need to give some thought
2. Roof ventilation – probably need to research power vents
3. Master Shower – shampoo ledge relative to vale etc.  need to look at items selected and give consideration to locations.  Wall thicknesses…..
4. Exterior Elevation call outs need discussion
5. How to construct ceilings UL bed 2/3
6. LL utility room layout (water meter) – storage layout.
7. Wall heights – master wardrobe height (closets)
8. Structure pricing confirmation (ceiling joists-great room truss?), 
9. Floating shelf thickness, dining trim, 
VALUE ENGINEERING CONSIDERATIONS
1. Outdoor grill cabinets construction/quantity
2. Service Entry – shallow cabinet, drawers on other side (maybe in closet)
3. Dog wash
4. Plumbing Fixtures – kitchen sink, upper level bath faucets, toilets, Jet dry,  etc
5. Appliances – steam oven, mix brands, 
6. Hidden Pantry cabinetry – maybe mix open shelving (textured melamine)
7. Upper Level Laundry – compare closet system shelving in lieu of cabinetry CKF
8. Textured Wall Allowance at LL Media (examples, Breanna, ?)
9. Level 4 drywall UL
10. Ask subs how to save $
11. UL barrel ceiling – quantify (structure to build?)
12. Sauna info for Crockett’s (did they pick or did we?)
13. Site Retaining Walls
14. Thin Stone
15. Shower Bases upper & lower level – see inspiration (Kohler, options?)
16. Windows – SDL grills, 
17. Closets – better define floor plans (options we want)
18. Maybe meetings with AV
19. Allowances / Landscaping allowance
20. Sub buyout opportunities – client is putting the squeeze on us, any room to move on your number??
21. Maybe standard retaining wall block on the “north” walls

