PK Crockett Residence

Notes & Value Engineering opportunities

8/26/26

PLAN NOTES – QUESTIONS THAT NEED CONSIDERATION

- AC linesets – need to give some thought

- Roof ventilation – probably need to research power vents

- Master Shower – shampoo ledge relative to vale etc.  need to look at items selected and give consideration to locations.  Wall thicknesses…..

- Exterior Elevation call outs need discussion

- How to construct ceilings UL bed 2/3

- LL utility room layout (water meter) – storage layout.

- Wall heights – master wardrobe height (closets)

- Structure pricing confirmation (ceiling joists-great room truss?),

- Floating shelf thickness, dining trim,

VALUE ENGINEERING CONSIDERATIONS

- Outdoor grill cabinets construction/quantity

- Service Entry – shallow cabinet, drawers on other side (maybe in closet)

- Dog wash

- Plumbing Fixtures – kitchen sink, upper level bath faucets, toilets, Jet dry,  etc

- Appliances – steam oven, mix brands,

- Hidden Pantry cabinetry – maybe mix open shelving (textured melamine)

- Upper Level Laundry – compare closet system shelving in lieu of cabinetry CKF

- Textured Wall Allowance at LL Media (examples, Breanna, ?)

- Level 4 drywall UL

- Ask subs how to save $

- UL barrel ceiling – quantify (structure to build?)

- Sauna info for Crockett’s (did they pick or did we?)

- Site Retaining Walls

- Thin Stone

- Shower Bases upper & lower level – see inspiration (Kohler, options?)

- Windows – SDL grills,

- Closets – better define floor plans (options we want)

- Maybe meetings with AV

- Allowances / Landscaping allowance

- Sub buyout opportunities – client is putting the squeeze on us, any room to move on your number??

- Maybe standard retaining wall block on the “north” walls