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Crockett Residence
Notes & Value Engineering opportunities						
8/28/26
											
EXTERIOR CONSTRUCTION
1. Hot Tub – potential new location (additional for recess)
2. Outdoor grill cabinets/countertop – reduce cabinet/counter area and built-in Green Egg
3. Exterior Materiality and revised exterior estimates for final defined areas/scope (ex. back side of fireplace wall, thin stone in lieu of full bed depth, etc.).
4. Final stone selection
5. Window SDL locations
6. Retaining Walls – concrete walls with stucco finish, options for caps, modular retaining wall block at North (street) side of home.
7. Research option for shingled roof at low slope area over rear patio in lieu of metal.
8. Front Door Allowance – use Pella bid value
9. Research alternate roofing/gutter contractor for bid accuracy/details
10. Review Allowances (landscaping, site lighting, etc.)

UPPER-LEVEL FINISHES & DETAILS
11. Shower Bases – Kohler Stoneridge Series (maybe lower level as well)
12. Laundry Room – remove cabinetry/countertop and provide a closet shelf system for storage of detergent etc.
13. Cabinetry Series to Signature Origins Series (face frame) – different door style.
14. Bath 3 – modify cabinet to remove tall linen and center the sink/mirror.
15. Drywall to level 4 finish
16. Drywall “knockdown” texture at ceilings (except for barrel) 
17. Study barrel ceiling detail and cost for efficiencies
18. Shower Doors – pricing options for semi-frameless in lieu of 3/8” heavy glass

MAIN-LEVEL FINISHES & DETAILS
19. Service Entry – modify (10” deep) shallow cabinet, remove drawers from other bench cabinet.
20. Hidden Pantry cabinetry – discuss a mix of open shelving (textured melamine) in lieu of all enclosed (stained) cabinetry.
21. Dog wash options and logistics discussion
22. Kitchen Hood Options – wood, etc.
23. Research pricing and alternate design for Contemplation Study
24. Herringbone Floor detail at Foyer
25. Planning Room slab backsplash – maybe alternate material (wallcovering)?
26. Master Stone Walls – maybe reduce quantity (window wall only)?
27. Airmada System at Master Shower

LOWER-LEVEL FINISHES & DETAILS
28. Level 4 drywall breakout
29. Option to remove the built-in countertop “snack bar”
30. Textured wall allowance – research/review options
31. Remove Fitness Room wall mirror
32. Vinyl Blankets at unfinished mechanical/storage areas in lieu of drywall walls
33. Shower Doors – pricing options for semi-frameless in lieu of 3/8” heavy glass
34. Remove warming drawer at Bar
35. Exercise Room exposed to lower-level mechanical/storage
GENERAL FINISHES & ALLOWANCES
36. Plumbing Fixture Selections
· kitchen sink
· upper-level bath faucets
· toilets
37. Appliances – steam oven, possibly mix brands, 
38. Textured Wall Allowance at LL Media (examples, Brianne ideas)
39. Cabinetry - Door Style (locations and options)
40. Cabinetry - Final Price for Kitchen pocket doors
41. Sauna info for Crockett’s review (confirm selection and options)
42. Closets – better define floor plans (options we want).  Would be best for McNeil to be involved in meetings with subs/vendors.
43. Coordinate meetings with AV contractors – define scope
44. General Allowance Values – light fixtures, tile, carpet, etc.

PLAN NOTES – items for general discussion
1. Master Shower – shampoo ledge relative to valve location etc.  need to give consideration to all device locations. 
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