HVAC Walk-Thru Checklist
1. Confirm type and specs of equipment with Owner
a. Furnaces and Heat Pumps/AC’s
b. Air Cleaning Equipment
2. Discuss location of equipment (furnaces, condensers, air cleaners)
a. Discuss sound isolation issues as well as Owner’s expectations
b. Rubber isolation pads for ceiling mounted unit heaters
c. Sound isolation pads for furnaces
d. Sealing of ductwork
3. Garage Heaters – verify type and location (as well as thermostat/control location)
4. Location of Registers
a. Discuss with Owner the location of supply air registers so as not to interfere with furniture or drapery placement
b. Discuss with Owner the location of return air grills (including size or returns)
5. Thermostats and Humidistats
a. Discuss what type and options for location
b. Owner approval on locations
c. Confirm any zone kits and what is controlled by which system
6. Venting
a. Discuss type and location of exterior wall or roof mount vents with Owner for furnaces, HEPA filters, water heaters, cooktops, bath fans, etc.
