HVAC Walk-Thru Checklist

- Confirm type and specs of equipment with Owner

  - Furnaces and Heat Pumps/AC’s

  - Air Cleaning Equipment

- Discuss location of equipment (furnaces, condensers, air cleaners)

  - Discuss sound isolation issues as well as Owner’s expectations

  - Rubber isolation pads for ceiling mounted unit heaters

  - Sound isolation pads for furnaces

  - Sealing of ductwork

- Garage Heaters – verify type and location (as well as thermostat/control location)

- Location of Registers

  - Discuss with Owner the location of supply air registers so as not to interfere with furniture or drapery placement

  - Discuss with Owner the location of return air grills (including size or returns)

- Thermostats and Humidistats

  - Discuss what type and options for location

  - Owner approval on locations

  - Confirm any zone kits and what is controlled by which system

- Venting

  - Discuss type and location of exterior wall or roof mount vents with Owner for furnaces, HEPA filters, water heaters, cooktops, bath fans, etc.