Electrical Walk-Thru Checklist

- Can Lights

  - Spacing & conflicts with joists/structure

  - Any areas to add cans?

  - Accent walls for art / pictures – directional type and spacing

  - Accent walls for stone or wallcovering

  - TREAD LIGHTS

- Lighting / Light Fixtures

  - Locations and spacing pendants (islands etc.)

  - Weight of fixtures – install box or loose wire for cut in box

  - Exterior light fixtures – cardboard cutout for location

  - Closets – light fixtures or LED disc

  - Garage – LED lights (by electrician or owner provided?)

  - Flood Lights – where to switch

  - Indirect lighting – confirm locations

  - Chandelier lift

- Switch/Outlet Locations

  - Confirm switch locations

  - Dimmer Locations

  - Any motion switches at closets

  - Floor Outlet locations

  - Any Lighting Control discussion

  - Outlets at special furniture, mantels (interior holiday decorations)

  - Outlets at exterior for holiday lighting

  - Outlet for MEP

    - Landscape lighting

    - stereo, security

    - plumbing recirculating pumps / Water treatment systems

    - Appliances - Grill / outdoor cooking / freezer

  - CAR CHARGING outlet (size of circuit and location)

  - EXERCISE equipment – need specs

  - Outlets inside cabinets for any special items (vacuum charging, hairdryer, etc.)

  - SPECIAL HOBBIES – need for outlets/lighting?

- Misc. Electrical

  - MOTORIZED SHADES

  - Smoke detectors/life safety

  - Floor heat

  - Future rough-in needs

  - Hot Tubs

  - Yard outlets