RESIDENTIAL COMPLETION CHECKLIST – Schachne Residence
· Windows
· Schedule install of screens, cranks, hardware
· Cleaning
· Window cleaning – interior and exterior
· Schedule total house cleaning
· Final wood floor polish
· Schedule duct cleaning
· Remove all excess materials from site
· Organize leftover materials in mechanical/storage area
· Mechanical/Electrical
· Electrical finish – confirm device color selections
· Sound system finish
· Security/Surveillance finish
· HVAC finish
· Plumbing finish
· Water treatment finish
· Make gas tags
· Request client to setup account with internet service provider of their choice for completion of system setups
· Inspections
· Electrical
· HVAC
· Plumbing
· Elevator
· Pool
· Final
· Railings/Fences
· Appliances
· Schedule delivery and install
· Test all appliances
· Empty first few batches of ice from any ice makers
· Confirm hood works
· Garage Doors, Openers, & Keypads
· Closets
· Carpet
· Schedule install
· Vacuum and mop floors before carpet installs
· Cabinets
· Adjust doors and install special accessories
· Hardware
· Install all door hardware – check locking on all doors
· Verify doors to be keyed alike
· Install bath accessories/cabinet hardware
· Sump Pump System
· Mirrors/Glass/Shower Doors
· Fireplaces
· Schedule final install and setup
· Elevator
· Confirm with client whether they prefer wifi or landline connection – schedule install
· Sitework
· Sod
· Sprinklers
· Site lighting
· Warranty Box
· Owner to transfer utilities into their name
· Reach out to subcontractors to assist in setting up subscription services
· HVAC
· Water treatment
· Landscaping
· Pool
· Order set of trash and recycle cans to the house


















Final Countdown – What’s Not Done/Miscellaneous
· Lighting control finish
· Light channel at Service Entry & light rail
· Touch latch at Kitchen cabinet and Great Room hutch
· Missing cabinet parts
· Trash can lid of Kitchen trash can
· Final install of grab bars and additional hardware ordered after walk thru
· Primary Bathroom quartz walls/seat/shelf
· Primary Wardrobe dresser countertop
· Primary Wardrobe dresser drawers & hardware
· Service Entry coats closet finish
· Service Entry broom closet finish
· Paint elevator pit osb to match concrete
· Finish mailbox install
· Address number install at house & mailboxes
· Fence
· Patio screen
· Sod
· Final irrigation
· Redo step/platform into house from garage
· Sleeve for light fixture wire in Dining Room??
· Pick up and install extra materials shelf
· Check all appliances / throw out ice
· Gas tags
· Window cleaning
· Final clean / wood floor polish
· Duct cleaning 6/15
· Final inspections: final, hvac, electrical, plumbing










Final Turnover – Remaining Punchlist Items								Schachne
7/10/2026

· Kitchen glass cabinet still needs touch latch (CKF aware)
· Master Bathroom safe needs to be moved up to top shelf and reinforce shelf to support it
· Sun tunnel trim kits
· Price to add railings other side of stairs to lower level

**Schedule SEI walkthrough of system
**Schedule D&K walkthrough of system


