Schachne Punchlist		
GENERAL NOTES
· Lighting control Switches need to be mounted
· Base needs final paint and nail holes spackled
· Fingerprints on doors and casing all over
· In the unfinished part of the basement by the North sump pump, water is leaking through the wall penetration.
FOYER
· Front Door Contact needed - SEI
· Outlet covers needed
· PTU above base in between Stair Doors
· Adhesive on front door hinges
· Will the Slatwall shelf need to be painted black?
· Caulk needed on the left side of the slatwall
· Handprints above the door lever on stair door
· Cased opening to Service entry has handprints midway up
· Doors to den need installation feet removed
· Den Doors need to adjust hinges
· Sidelite by front door needs PTU on left side, inside the frame
· PTU Base to the left of den doors
DEN
· Left double door needs PTU left of the lever
· Left of Casing around closet door, midway up – PTU
· East & South wall in closet – PTU
· Closet Lever strike feel loose
· Need doorstop installed in closet
· In the closet next to the middle hinge on the door – PTU
· In closet, next to lever – PTU
· Strike side of door to laundry – PTU
· Door to laundry by lever – PTU
· Door to laundry, Lever is not smooth, gets caught when opening
· East Base needs Paint and Spackle
LAUNDRY
· Door to hall does open properly
· Base around Washer & Dryer needs installed/Finished
· Door has one nickel hinge and 2 black hinges
· Ceiling above Dryer – PTU
· The pocket door doesn’t lock and unlock well
PRIMARY WARDROBE
· Light switch cover is missing a screw
· Ironaway needs a cabinet pull/handle
· All Drawers need Bumpers
· Left of drawers above base – PTU
· Casing left of pocket door. Towards the bottom – PTU
· Countertop needs to be installed
· Door to bathroom Hinges need to be set, and the door needs to be cut down
· South wall above double hang section – PTU
· Ceiling above East window – PTU
· Surrounding the Ironaway – PTU all Edges
PRIMARY BATHROOM
· The wall safe needs to be installed
· Corner bead to the right of cabinets on the west wall – PTU
· Bottom of jamb to wardrobe – PTU
· Shower Slabs need to be installed
· Can light above the left sink needs to be installed
· Next to left sconce light – PTU
· Base needed on both sides of the shower entrance
· Caulk is needed at the slab next to the tub
· In the water closet, Grab bars need to be installed
· Water closet door on the bottom hinge – PTU
PRIMARY BEDROOM
· Below left window on East wall – PTU
· Right window on east wall – PTU next to latch
· Honeywell Home device not responsive
· Left of main light switch – PTU
· Above main door on casing – PTU
· Main door hinges need adjustment
· Middle of main door – PTU


MASTER HALLWAY 
· Angled wall between Primary and Great Room – PTU
· Under both East wall outlets – PTU
· Under the thermostat, above the base – PTU
· Door to Guest Bath – PTU next to lever
· Door to Guest Bath doesn’t latch well – Needs adjustment
· Paint on ceiling – East Corner
GUEST BATHROOM
· The sink needs the drain installed
· Robe hook needs to be installed
· Bottom of door casing on both sides – PTU
· Paint on the bottom of robe hook
· Caulk/Finish sides of shower tile
GREAT ROOM
· Left upper window on the south wall has paint on glass
· Missing bottom glass shelf to the right of the fireplace
· North wall display cabinet, needs bottom cabinet pull installed
· Precast to the right of the fireplace, needs cleaned
· Flooring next to the fireplace stonewall has gaps
· In Elevator closet-  Base needs to be finished
DINING ROOM
· Trim Base & Shoe – PTU
· At the south wall, the left window pops when opening.
· Art/TV needs to be mounted
KITCHEN
· Cabinets above the oven need hardware installed
· Drawers on the west wall need hardware installed
· On the southside of the Island on the right, Needs rollouts & there is a large hole in the back of the cabinet
· Touch latches need to be installed on black glass cabinet uppers
· Hood lights and Fan not working
· West side of Island directly under the countertop, the cabinets are chipped
· Fridge Appliance pulls need to be installed
· North side of the island, on the far right, the cabinet door feels loose
SERVICE ENTRY
· Honeywell unit not responsive
· Under the upper cabinets, next to the LED strip, 2 screw holes need to be patched
· Utility Closet needs to be cleaned
· Garage door has handprints
· Garage door needs correct Lever & Hinges. Not bang door handle
· Garage door needs the keypad deadbolt installed
· Switch in the utility closet not functioning?
· Left of casing to coats closet – PTU
· Base left of the Pantry – PTU
PANTRY
· Hole on the south wall for the LED wire needs to be cleaned up
COATS CLOSET
· On the ceiling next to the light – PTU
· Strike side of door on the Jamb – PTU
· Base needs finished – PTU
POWDER BATH
· Sink bowl needs to be cleaned
· Outlet covers need to be installed
· Bath Accessories need to be finished
· Upper drawer on vanity needs a Cab Pull
LOWER LEVEL
STAIRCASE
· Handrails need to be installed
· Sides of door casing @ top of stairs needed cleaned up – PTU
· On ceiling next to Can/West wall – PTU
· Outside corner at landing – PTU
· On casing next to drawer strike – PTU
· Inside corner at landing – PTU
· Scuff marks on skirt board @ east wall After landing, before banister – PTU
· Wood cap on the west side, underneath – PTU
· Outside edge of top wood endcap -PTU
· Under newel post on outer skirt board – PTU
LL BAR
· 2 Screw holes under left and middle uppers – PTU
· Far right drawer face is chipped at the top edge
· Door to Storage room on casing next to Strike plate – PTU
· On the west wall next to the upper cabinet corner – PTU
· Door to Storage on casing at the top middle – PTU
· Base and Shoe need to be finished – PTU
FAMILY ROOM 
· On ceiling in front of fireplace, large, sanded section – PTU
· On the ceiling in front of the switches – PTU
· On the base under the vent near the closet – PTU
· On  the bottom of the door to the closet – PTU
· The outlet cover on the column has gaps on the edges
· Window panels outside need to be painted when you open them -PTU
· Left window set under left crank – PTU
· Left window set under lock – PTU
· On fireplace wall, Entire soffit corner – PTU
· North face of column about 2’ from ground – PTU
· Bottom of casing on right side of closet door – PTU
FAMILY ROOM CLOSET
· Door sticks when closed, Needs adjusted
· at the Bottom hinge on closet door – PTU
· at lower left side door casing – PTU
· South wall in between the middle and bottom hinges – PTU
· Next to the base, by the door stop – PTU
· At the top right corner of the shelves – PTU
LL BATH
· Drain in shower needed
· Next to GFCI Outlet – PTU
· To the right of upper linen cabinet door – PTU
· In between the shower and Linen cabinet – PTU
LL BEDROOM
· Doorstop needs installed in the closet
· Shelf pins need to be installed in the closet
· Top right of west shelves in closet at the corner – PTU
· Next to TV outlet on South wall – PTU
· Middle of bottom window casing – PTU
· Outside of window panels when opened – PTU
· Both sides closet door casing – PTU
GARAGE
· Boards surrounding overhead doors need to be painted
· All trim needs to be finished - PTU
· West wall by outlet in between overhead doors – PTU
· Surrounding Electrical panels – PTU
· Attic access – needs paint
· North wall next to garage door – PTU
· Windows on the north side - needs painted
OUTSIDE
NORTH
· The EIFS surrounding the sidelight next to the front door needs to be cleaned up
· Gutter next to Den Closet on Northside – PTU
· Planters need Rock inside + misc. Rock needs to be added where it looks thin
· Rain Chain for front entryway in black
· Address signage needs to be installed on the front of the house and at the mailbox
WEST 
· Wire for Lights or a camera on the southwest corner of the soffit is hanging.
SOUTH 
· Fence & gates need to be finished
· To the right of the sliding door, Stone Veneer is missing 
EAST
· The grass here is becoming a mud pit
