GENERAL NOTES

- Lighting control Switches need to be mounted

- Base needs final paint and nail holes spackled

- Fingerprints on doors and casing all over

- In the unfinished part of the basement by the North sump pump, water is leaking through the wall penetration.

FOYER

- Front Door Contact needed - SEI

- Outlet covers needed

- PTU above base in between Stair Doors

- Adhesive on front door hinges

- Will the Slatwall shelf need to be painted black?

- Caulk needed on the left side of the slatwall

- Handprints above the door lever on stair door

- Cased opening to Service entry has handprints midway up

- Doors to den need installation feet removed

- Den Doors need to adjust hinges

- Sidelite by front door needs PTU on left side, inside the frame

- PTU Base to the left of den doors

DEN

- Left double door needs PTU left of the lever

- Left of Casing around closet door, midway up – PTU

- East & South wall in closet – PTU

- Closet Lever strike feel loose

- Need doorstop installed in closet

- In the closet next to the middle hinge on the door – PTU

- In closet, next to lever – PTU

- Strike side of door to laundry – PTU

- Door to laundry by lever – PTU

- Door to laundry, Lever is not smooth, gets caught when opening

- East Base needs Paint and Spackle

LAUNDRY

- Door to hall does open properly

- Base around Washer & Dryer needs installed/Finished

- Door has one nickel hinge and 2 black hinges

- Ceiling above Dryer – PTU

- The pocket door doesn’t lock and unlock well

PRIMARY WARDROBE

- Light switch cover is missing a screw

- Ironaway needs a cabinet pull/handle

- All Drawers need Bumpers

- Left of drawers above base – PTU

- Casing left of pocket door. Towards the bottom – PTU

- Countertop needs to be installed

- Door to bathroom Hinges need to be set, and the door needs to be cut down

- South wall above double hang section – PTU

- Ceiling above East window – PTU

- Surrounding the Ironaway – PTU all Edges

PRIMARY BATHROOM

- The wall safe needs to be installed

- Corner bead to the right of cabinets on the west wall – PTU

- Bottom of jamb to wardrobe – PTU

- Shower Slabs need to be installed

- Can light above the left sink needs to be installed

- Next to left sconce light – PTU

- Base needed on both sides of the shower entrance

- Caulk is needed at the slab next to the tub

- In the water closet, Grab bars need to be installed

- Water closet door on the bottom hinge – PTU

PRIMARY BEDROOM

- Below left window on East wall – PTU

- Right window on east wall – PTU next to latch

- Honeywell Home device not responsive

- Left of main light switch – PTU

- Above main door on casing – PTU

- Main door hinges need adjustment

- Middle of main door – PTU

MASTER HALLWAY

- Angled wall between Primary and Great Room – PTU

- Under both East wall outlets – PTU

- Under the thermostat, above the base – PTU

- Door to Guest Bath – PTU next to lever

- Door to Guest Bath doesn’t latch well – Needs adjustment

- Paint on ceiling – East Corner

GUEST BATHROOM

- The sink needs the drain installed

- Robe hook needs to be installed

- Bottom of door casing on both sides – PTU

- Paint on the bottom of robe hook

- Caulk/Finish sides of shower tile

GREAT ROOM

- Left upper window on the south wall has paint on glass

- Missing bottom glass shelf to the right of the fireplace

- North wall display cabinet, needs bottom cabinet pull installed

- Precast to the right of the fireplace, needs cleaned

- Flooring next to the fireplace stonewall has gaps

- In Elevator closet-  Base needs to be finished

DINING ROOM

- Trim Base & Shoe – PTU

- At the south wall, the left window pops when opening.

- Art/TV needs to be mounted

KITCHEN

- Cabinets above the oven need hardware installed

- Drawers on the west wall need hardware installed

- On the southside of the Island on the right, Needs rollouts & there is a large hole in the back of the cabinet

- Touch latches need to be installed on black glass cabinet uppers

- Hood lights and Fan not working

- West side of Island directly under the countertop, the cabinets are chipped

- Fridge Appliance pulls need to be installed

- North side of the island, on the far right, the cabinet door feels loose

SERVICE ENTRY

- Honeywell unit not responsive

- Under the upper cabinets, next to the LED strip, 2 screw holes need to be patched

- Utility Closet needs to be cleaned

- Garage door has handprints

- Garage door needs correct Lever & Hinges. Not bang door handle

- Garage door needs the keypad deadbolt installed

- Switch in the utility closet not functioning?

- Left of casing to coats closet – PTU

- Base left of the Pantry – PTU

PANTRY

- Hole on the south wall for the LED wire needs to be cleaned up

COATS CLOSET

- On the ceiling next to the light – PTU

- Strike side of door on the Jamb – PTU

- Base needs finished – PTU

POWDER BATH

- Sink bowl needs to be cleaned

- Outlet covers need to be installed

- Bath Accessories need to be finished

- Upper drawer on vanity needs a Cab Pull

LOWER LEVEL

STAIRCASE

- Handrails need to be installed

- Sides of door casing @ top of stairs needed cleaned up – PTU

- On ceiling next to Can/West wall – PTU

- Outside corner at landing – PTU

- On casing next to drawer strike – PTU

- Inside corner at landing – PTU

- Scuff marks on skirt board @ east wall After landing, before banister – PTU

- Wood cap on the west side, underneath – PTU

- Outside edge of top wood endcap -PTU

- Under newel post on outer skirt board – PTU

LL BAR

- 2 Screw holes under left and middle uppers – PTU

- Far right drawer face is chipped at the top edge

- Door to Storage room on casing next to Strike plate – PTU

- On the west wall next to the upper cabinet corner – PTU

- Door to Storage on casing at the top middle – PTU

- Base and Shoe need to be finished – PTU

FAMILY ROOM

- On ceiling in front of fireplace, large, sanded section – PTU

- On the ceiling in front of the switches – PTU

- On the base under the vent near the closet – PTU

- On  the bottom of the door to the closet – PTU

- The outlet cover on the column has gaps on the edges

- Window panels outside need to be painted when you open them -PTU

- Left window set under left crank – PTU

- Left window set under lock – PTU

- On fireplace wall, Entire soffit corner – PTU

- North face of column about 2’ from ground – PTU

- Bottom of casing on right side of closet door – PTU

FAMILY ROOM CLOSET

- Door sticks when closed, Needs adjusted

- at the Bottom hinge on closet door – PTU

- at lower left side door casing – PTU

- South wall in between the middle and bottom hinges – PTU

- Next to the base, by the door stop – PTU

- At the top right corner of the shelves – PTU

LL BATH

- Drain in shower needed

- Next to GFCI Outlet – PTU

- To the right of upper linen cabinet door – PTU

- In between the shower and Linen cabinet – PTU

LL BEDROOM

- Doorstop needs installed in the closet

- Shelf pins need to be installed in the closet

- Top right of west shelves in closet at the corner – PTU

- Next to TV outlet on South wall – PTU

- Middle of bottom window casing – PTU

- Outside of window panels when opened – PTU

- Both sides closet door casing – PTU

GARAGE

- Boards surrounding overhead doors need to be painted

- All trim needs to be finished - PTU

- West wall by outlet in between overhead doors – PTU

- Surrounding Electrical panels – PTU

- Attic access – needs paint

- North wall next to garage door – PTU

- Windows on the north side - needs painted

OUTSIDE

NORTH

- The EIFS surrounding the sidelight next to the front door needs to be cleaned up

- Gutter next to Den Closet on Northside – PTU

- Planters need Rock inside + misc. Rock needs to be added where it looks thin

- Rain Chain for front entryway in black

- Address signage needs to be installed on the front of the house and at the mailbox

WEST

- Wire for Lights or a camera on the southwest corner of the soffit is hanging.

SOUTH

- Fence & gates need to be finished

- To the right of the sliding door, Stone Veneer is missing

EAST

- The grass here is becoming a mud pit